Supplementary Material

| Nomenclature |  |  |  |
| --- | --- | --- | --- |
| A | area (m2) | ex | exergy |
| B | Brine Water Flow Rate (kg/s) | i | inlet |
| C | cost rate ($ h-1) | M | Mixture tube |
| c | cost per exergy unit ($ GJ-1) | eva | evapoaror |
| D | diameter (m) | e | exit |
| Ex | exergy flow rate (kW) | mix | mixer |
| ex | specific exergy (kJ kg-1) | N | nozzle |
| F | Faraday constant | p | product |
| h | specific enthalpy (kJ kg-1) | poly | polygeneration |
| i | interest rate | rec | receiver |
| J | current density (A m-2) | rad | radiation |
| Ex | exergy flow rate (kW) | sf | Secondary flow |
| ex | specific exergy (kJ kg-1) | tur | turbine |
| m | mass flow rate (kg s-1) |  |  |
| N | Number of MED Effects | Greek letters |  |
| n | molar flow rate (mol s-1) | γ | fuel-air molar ratio |
| P | pressure (kPa) | η | efficiency |
| Q | heat transfer rate (kW) | ρ | density (kg m-3) |
| RP | Pressure ratio | φ | maintenance factor |
| s | specific entropy (kJ kg -1K-1) | ωPEME | local ionic conductivity of the electrolyzer |
| T | temperature (℃) |  |  |
| U | overall heat transfer coefficient (Wm-2 ℃-1) | Abbreviation |  |
| V | Voltage (V) | ABC | air bottoming cycle |
| V0 | reversible potential (V) | ACH | absorption chiller |
| W | power (kW) | AE | alkaline electrolyzer |
| X | Salinity | ANN | artificial natural network |
| x | Molar concentration | CC | combustion chamber |
| Y | molar fraction of gas | DNI | direct Normal Irradiation |
| ZTM | figure of merit multiplied by a mean temperature | CRF | capital recovery factor |
| Z | investment cost rate ($ h-1) | DFC | double flash cycle |
| Z | investment cost ($) | EES | engineering equation solver |
| V | Voltage (V) | GTC | gas turbine cycle |
| V0 | reversible potential (V) | GTIT | gas turbine inlet temperature |
| W | power (kW) | HRSG | heat recovery steam generator |
| X | Salinity | HWU | hot water unit |
| x | Molar concentration | LCOE | levelized cost of electricity |
|  |  | MED | multi effect desalination |
| Subscripts |  | ORC | organic Rankine cycle |
| abs | absorber | PEME | proton exchange membrane electrolyzer |
| b | brine | REC | recuperator |
| com | compressor | RHX | recovery heat exchanger |
| con | condenser | RODU | reverse osmosis desalination unit |
| D | diffuser | SBC | supercritical Brayton cycle |
| dest | destruction | SPT | solar power tower |
| el | electricity | SRC | steam Rankine cycle |
| env | environmental | TEG | thermoelectric generator |

Table S1 The thermodynamic energy balance equations and the exergetic flows of fuel and product across various system components

| Device | Energy relation | Fuel | Product |
| --- | --- | --- | --- |
| Compressor 1 | Wcom,1=mair(h2-h1) | Wcom,1 | Ex2-Ex1 |
| HWH | mair(h2-h3)=m11(h12-h11) | Ex2-Ex3 | Ex12-Ex11 |
| Compressor 2 | Wcom,2=mair(h4-h3) | Wcom,2 | Ex4-Ex3 |
| GTC Recuperator | mair(h5-h4)=mgas(h8-h9) | Ex8-Ex9 | Ex5-Ex4 |
| SPT | Appendix A | DNI Amirror(1-T0Tsun) | Ex6-Ex5 |
| Combustion chamber | Appendix A | Ex44 | Ex7-Ex6 |
| GTC Turbine | WGTC, tur=mgas(h7-h8) | Ex7-Ex8 | WGTC, tur |
| RHX | mgas(h9-h10)=mSBC(h13-h18) | Ex9-Ex10 | Ex13-Ex18 |
| SBC Turbine | WSBC, tur=mSBC(h13-h14) | Ex13-Ex14 | WSBC, tur |
| SBC Compressor | WSBC,com=mSBC(h17-h16-a) | WSBC, com | Ex17-Ex16-a |
| SBC Recuperator | mSBC(h18-h17)=mSBC(h14-h15) | Ex14-Ex15 | Ex18-Ex17 |
| TEG | Appendix A | Ex16-Ex16-a | Ex43-Ex42+WTEG |
| HRSG | QHRSG=mgas(h10-h19)=m20(h20-h21) | Ex10-Ex19 | Ex20-Ex21 |
| MED | Appendix A | Ex20-Ex21+Ex22 | Ex23+Ex25 |
| ACH generator | QACH,gen=m33h33+m32h32-m31h31=mSBC(h15-h16) | Ex15-Ex16 | Ex33+Ex32-Ex31 |
| ACH absorber | QACH,abs=m35h35-m29h29=m40(h41-h40) | Ex35-Ex29 | Ex41-Ex40 |
| ACH evaporator | QACH,eva=m27(h28-h27)=m38(h38-h39) | Ex27-Ex28 | Ex39-Ex38 |
| ACH condenser | QACH,con=m32(h32-h26)=m36(h37-h36) | Ex32-Ex26 | Ex37-Ex36 |
| ACH SHX | QACH,SHX=m30(h31-h30)=m33(h33-h34) | Ex33-Ex34 | Ex31-Ex30 |
| ACH pump | WACH, pump=m29(h30-h29) | WACH, pump | Ex30-Ex29 |
| ACH Ejector | Appendix A | Ex34+Ex28 | Ex35 |
| ACH EV | h26=h27 | Ex26 | Ex27 |
| AE | Appendix A | WAE | Ex46 |

Table S2 Cost rate balance and auxiliary equations

| Device | Main equation | Supplementary equation |
| --- | --- | --- |
| Compressor 1 | C1+cel,GTC Wcom,1+Zcom,1=C2 | c1=0 |
| HWH | C2+C11+ZHWU=C3+C12 | c2=c3 , c11=0 |
| Compressor 2 | C3+cel,GTC Wcom,2+Zcom,2=C4 | _ |
| GTC Recuperator | C4+C8+ZGTC, Rec=C5+C9 | c8=c9 |
| SPT | C5+csunExf,SPT+ZSPT=C6 | csun=0 |
| Combustion chamber | C6+C44+Zcc=C7 | c44=7.36 $ GJ -1 |
| GTC Turbine | C7+Ztur1=cel,GTC WGTC, tur+C8 | c7=c8 |
| RHX | C9+C18+ZRHX=C13+C10 | c9=c10 |
| SBC Turbine | C13+ZSBC,tur=C14+cel,SBC WSBC,tur | c13=c14 |
| SBC Compressor | C16-a+ZSBC,com+cel,SBC WSBC,com=C17 | _ |
| SBC Recuperator | C17+C14+ZSBC,Rec=C15+C18 | c14=c15 |
| TEG | C16+C42+ZTEG=C16a+C43+cel,SBCWTEG | c16=c16a , c42=0 |
| HRSG | C10+C21+ZHRSG=C20+C19 | c10=c19 |
| MED | C20+C22+ZMED=C25+C24+C23+C21 | c22=0, c20=c21 |
| ACH generator | C15+C31+ZACH,gen=C32+C33+C16 | c15=c16 , C32-C31Ex32-Ex31=C33-C31Ex33-Ex31 |
| ACH absorber | C35+C40+ZACH,abs=C29+C41 | c40=0 |
| ACH evaporator | C27+C38+ZACH,eva=C39+C28 | c27=c28 , c38=0 |
| ACH condenser | C32+C36+ZACH,con=C26+C37 | c32=c26 , c36=0 |
| ACH SHX | C33+C30+ZACH,SHX=C31+C34 | c33=c34 |
| ACH pump | C29+cel,GTCWACH,pump+ZACH,pump=C30 | - |
| ACH Ejector | C28+C34+ZACH,Ejector=C35 | - |
| ACH EV | C26+ZACH,EV=C27 | - |
| AE | cel,SBCWAE+ZAE=C44 | - |

Table S3 Preliminary output metrics by streams

| Stream | Fluid | m (kg s-1) | T (°C) | P (kPa) | h (kJ kg-1) | s (kJ kg-1 K-1) | Ex (kW) | c($ GJ-1) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | air | 100 | 25 | 101.3 | -163.8 | 6.943 | 0 | 0 |
| 2 | air | 100 | 157 | 320.3 | -28.6 | 6.984 | 12280 | 16.02 |
| 3 | air | 100 | 30 | 304.3 | -158.7 | 6.641 | 9503 | 16.02 |
| 4 | air | 100 | 171 | 1013 | -14.04 | 6.684 | 22685 | 16 |
| 5 | air | 100 | 400 | 962.4 | 229.1 | 7.14 | 33415 | 16.7 |
| 6 | air | 100 | 665.1 | 914.2 | 525.1 | 7.525 | 51541 | 15.04 |
| 7 | Gas mixture | 102.4 | 1000 | 868.5 | 331.6 | 7.986 | 84384 | 13.03 |
| 8 | Gas mixture | 102.4 | 553.4 | 111 | -201.7 | 8.068 | 27269 | 13.03 |
| 9 | Gas mixture | 102.4 | 341.7 | 107.7 | -439.2 | 7.746 | 12804 | 13.03 |
| 10 | Gas mixture | 102.4 | 251.7 | 104.4 | -536.8 | 7.583 | 7780 | 13.03 |
| 11 | Water | 88.91 | 25 | 101.3 | 104.8 | 0.3669 | 0 | 0 |
| 12 | Water | 88.91 | 60 | 101.3 | 251.2 | 0.8311 | 715.1 | 62.59 |
| 13 | N2 | 89.26 | 321.7 | 6715 | 621.5 | 6.308 | 685706 | 31.66 |
| 14 | N2 | 89.26 | 238.1 | 3640 | 531.2 | 6.33 | 677053 | 31.66 |
| 15 | N2 | 89.26 | 133.1 | 3567 | 418.7 | 6.09 | 673402 | 31.66 |
| 16 | N2 | 89.26 | 70 | 3496 | 350.9 | 5.914 | 672015 | 31.66 |
| 17 | N2 | 89.26 | 116 | 6992 | 397.1 | 5.832 | 678320 | 31.73 |
| 18 | N2 | 89.26 | 218.9 | 6852 | 509.6 | 6.095 | 681373 | 31.76 |
| 19 | Gas mixture | 102.4 | 79 | 101.3 | -718.9 | 7.171 | 1693 | 13.03 |
| 20 | water | 7.981 | 69 | 29.85 | 2624 | 7.769 | 2515 | 36.5 |
| 21 | water | 7.981 | 69 | 29.85 | 288.8 | 0.9427 | 118.2 | 36.5 |
| 22 | Sea water | 342.4 | 25 | 101.3 | 99.77 | 0.3498 | 0 | 0 |
| 23 | Fresh water | 46.77 | 43.49 | 101.3 | 182.2 | 0.6187 | 224.6 | 389.7 |
| 26 | Ammonia | 3.239 | 35 | 1351 | 366 | 1.566 | 1036 | 68 |
| 27 | Ammonia | 3.239 | 0 | 429.6 | 366 | 1.608 | 996.3 | 68 |
| 28 | Ammonia | 3.239 | 0 | 429.6 | 1462 | 5.621 | 708.8 | 68 |
| 29 | Ammonia-LiNO3 | 22.86 | 35 | 446.7 | -1.578 | 0.7001 | 4812 | 88.96 |
| 30 | Ammonia-LiNO3 | 22.86 | 35.31 | 1351 | -0.6073 | 0.7035 | 4813 | 89 |
| 31 | Ammonia-LiNO3 | 22.86 | 65.64 | 1351 | 97.03 | 1.022 | 4874 | 91.16 |
| 32 | Ammonia | 3.239 | 90 | 1351 | 1646 | 5.682 | 1211 | 68 |
| 33 | Ammonia-LiNO3 | 19.62 | 90 | 1351 | 149.7 | 1.153 | 4488 | 90.51 |
| 34 | Ammonia-LiNO3 | 19.62 | 51.71 | 1351 | 35.9 | 0.8055 | 4314 | 90.51 |
| 35 | Ammonia-LiNO3 | 22.86 | 45.39 | 446.7 | 238 | 1.486 | 4933 | 88.96 |
| 36 | Water | 198.2 | 27 | 101.3 | 113.2 | 0.3949 | 6.31 | 0 |
| 37 | Water | 198.2 | 32 | 101.3 | 134.1 | 0.464 | 69.92 | 170.4 |
| 38 | Water | 172.6 | 7.9 | 101.3 | 33.29 | 0.1198 | 361.9 | 0 |
| 39 | Water | 172.6 | 3 | 101.3 | 12.71 | 0.04592 | 609.3 | 32.61 |
| 40 | Water | 261.8 | 27 | 101.3 | 113.2 | 0.3949 | 8.334 | 0 |
| 41 | Water | 261.8 | 32 | 101.3 | 134.1 | 0.464 | 92.35 | 119.9 |
| 42 | Water | 79.96 | 25 | 101.3 | 104.8 | 0.3669 | 0 | 0 |
| 43 | Water | 79.96 | 35 | 101.3 | 146.7 | 0.5049 | 56.52 | 230.1 |
| 44 | Biogas | 2.369 | 25 | 101.3 | -7424 | 7.243 | 43964 | 7.358 |
| 46 | Hydrogen | 0.0009651 | 60 | 700 | 4437 | 46.99 | 115.4 | 191.7 |
| 47 | Oxygen | 0.00766 | 60 | 700 | 31.07 | -0.4029 | 2.108 | 0 |